- Table S1: Key Technical Parameters of Wind Power Generation Systems

| - Parameter | - Numerical value | - Unit |
| --- | --- | --- |
| - Rated power | - 50 | - kW |
| - Cut-in wind speed | - 3.0 | - m/s |
| - Rated wind speed | - 10.5 | - m/s |
| - Cut out wind speed | - 25.0 | - m/s |
| - Hub height | - 40 | - m |
| - Design life | - 20 | - year |
| - Power curve coefficient a | - 0.0041 | - kW/（m/s）³ |
| - Power curve coefficient b | - 0.0268 | - - |
| - Annual average availability rate | - 0.98 | - - |

- Table S2: Key Technical Parameters of Photovoltaic Power Generation Systems

| - parameter | - numerical value | - unit |
| --- | --- | --- |
| - Rated power of a single component | - 450 | - W |
| - Temperature correction coefficient | - -0.0045 | - ℃⁻¹ |
| - NOCT | - 45 | - ℃ |
| - Component efficiency | - 21.5 | - % |
| - Component area | - 2.09 | - m² |
| - Inverter efficiency | - 98 | - % |
| - System loss coefficient | - 0.95 | - - |
| - Design life | - 25 | - year |
| - Annual decay rate | - 0.55 | - % |

- Table S3: Key Technical Parameters of Battery Energy Storage Systems

| - Parameter | - Numerical value | - Unit |
| --- | --- | --- |
| - Rated capacity of a single battery pack | - 50 | - kWh |
| - charging efficiency | - 95 | - % |
| - Discharge efficiency | - 95 | - % |
| - SOC upper limit | - 90 | - % |
| - SOC lower limit | - 20 | - % |
| - Self discharge rate | - 0.2 | - %/day |
| - Maximum charging power | - 0.5C | - kW |
| - Maximum discharge power | - 1C | - kW |
| - Cycle life (80% DOD) | - 4500 | - order |
| - Design life | - 10 | - year |
| - Capacity decay rate | - 2 | - %/year |

Table S4 Performance Parameters and Economic Indicators of Energy Storage System

| Parameter | Numerical value |
| --- | --- |
| Battery Type | Lithium-ion battery |
| Unit investment cost | 1200 CNY/kWh |
| charging efficiency | 95% |
| Discharge efficiency | 95% |
| Self discharge rate | 2%/month |
| SOC lower limit | 20% |
| SOC upper limit | 90% |
| Design cycle life | 4000 @80%DOD |
| Annual maintenance cost rate | 2% |

Table S5 Key Technical and Economic Parameters of Converters and Inverters

| Parameter | Numerical value |
| --- | --- |
| Inverter type | bidirectional grid-connected inverter |
| Unit investment cost | 1500 CNY/kW |
| AC-DC efficiency | 95% |
| DC-AC efficiency | 96% |
| Maximum power tracking efficiency | 99.5% |
| design life | 10year |
| Annual maintenance cost rate | 1% |
| Replacement cost ratio | 90 of the original price |

Table S6 Statistical Table of Monthly Average Solar Irradiance in the Study Area (2019-2023)

| Month | Monthly average irradiance（W/m²） | Maximum monthly irradiance（W/m²） | Hours of sunshine | Effective irradiation days |
| --- | --- | --- | --- | --- |
| January | 387.6 | 892.3 | 195.4 | 22.7 |
| February | 456.9 | 957.8 | 201.5 | 25.1 |
| March | 523.4 | 1023.5 | 246.3 | 28.2 |
| April | 601.2 | 1078.4 | 258.7 | 28.9 |
| May | 645.8 | 1103.7 | 282.9 | 30.1 |
| June | 678.3 | 1137.2 | 290.4 | 29.5 |
| July | 682.7 | 1145.6 | 288.3 | 28.7 |
| August | 651.5 | 1108.3 | 271.5 | 29.3 |
| September | 589.4 | 1052.6 | 254.8 | 28.6 |
| October | 503.7 | 972.1 | 230.6 | 27.4 |
| November | 426.5 | 917.3 | 198.2 | 24.6 |
| December | 372.8 | 864.5 | 187.5 | 21.9 |
| Annual average | 543.3 | 1145.6 | 2906.1 | 325.0 |

Table S7 Statistical Table of Average Monthly Wind Speed in the Study Area (2019-2023)

| Month | Average monthly wind speed（m/s） | Maximum monthly wind speed（m/s） | Effective wind speed duration（h） | [电力]wind power concentration （W/m²） |
| --- | --- | --- | --- | --- |
| January | 5.32 | 18.74 | 623.8 | 175.2 |
| February | 5.86 | 19.35 | 585.2 | 201.3 |
| March | 6.45 | 21.76 | 687.5 | 254.9 |
| April | 6.12 | 20.53 | 642.6 | 232.7 |
| May | 5.68 | 18.92 | 625.3 | 187.6 |
| June | 4.86 | 16.35 | 524.7 | 135.8 |
| July | 4.23 | 14.87 | 485.3 | 102.4 |
| August | 4.35 | 15.32 | 498.1 | 110.5 |
| September | 4.75 | 17.25 | 536.4 | 128.3 |
| October | 5.32 | 18.53 | 597.8 | 172.4 |
| November | 5.78 | 19.87 | 615.2 | 195.7 |
| December | 5.45 | 19.25 | 630.1 | 182.6 |
| Annual average | 5.35 | 21.76 | 6052.0 | 173.3 |

Table S8 Statistical Table of Power Load Characteristics in the Study Area (2019-2023)

| Season | Average daily load（kW） | Peakload （kW） | Valued load（kW） | Peak-to-valley current ratio | Load utilization（%） |
| --- | --- | --- | --- | --- | --- |
| Spring | 487.3 | 823.5 | 276.8 | 2.98 | 59.2 |
| Summer | 645.8 | 1123.7 | 312.5 | 3.60 | 57.5 |
| Autumn | 512.6 | 857.4 | 292.3 | 2.93 | 59.8 |
| Winter | 723.5 | 1236.9 | 342.7 | 3.61 | 58.5 |
| Throughout the year | 592.3 | 1236.9 | 276.8 | 4.47 | 57.9 |

Table S8 Statistical Table of Power Load Characteristics in the Study Area (2019-2023)

| Season | Average daily load（kW） | Peakload （kW） | Valued load（kW） | Peak-to-valley current ratio | Load utilization（%） |
| --- | --- | --- | --- | --- | --- |
| Spring | 487.3 | 823.5 | 276.8 | 2.98 | 59.2 |
| Summer | 645.8 | 1123.7 | 312.5 | 3.60 | 57.5 |
| Autumn | 512.6 | 857.4 | 292.3 | 2.93 | 59.8 |
| Winter | 723.5 | 1236.9 | 342.7 | 3.61 | 58.5 |
| Throughout the year | 592.3 | 1236.9 | 276.8 | 4.47 | 57.9 |

Table S9 Simulation parameter setting of wind-solar-storage microgrid system

| Parameter category | Parameter name | Value | Unit |
| --- | --- | --- | --- |
| Photovoltaic system parameters | Rated power of a single component | 450 | W |
|  | temperature coefficient | -0.41 | %/°C |
|  | Initial investment cost | 3200 | CNY/kW |
|  | Proportion of operation and maintenance costs | 1.8 | %/year |
|  | service life | 25 | year |
| Wind power system parameters | Single machine rated power | 30 | kW |
|  | cut-in wind speed | 3 | m/s |
|  | rated wind speed | 12 | m/s |
|  | Cut out wind speed | 25 | m/s |
|  | Initial investment cost | 8500 | CNY/kW |
|  | Proportion of operation and maintenance costs | 2.5 | %/year |
|  | service life | 20 | year |
| Energy storage system parameters | Single battery capacity | 200 | Ah |
|  | rated voltage | 48 | V |
|  | charging efficiency | 93 | % |
|  | Discharge efficiency | 92 | % |
|  | SOC lower limit | 20 | % |
|  | SOC upper limit | 95 | % |
|  | Initial investment cost | 1800 | CNY/kWh |
|  | service life | 10 | year |
| Diesel generator parameters | rated power | 80 | kW |
|  | fuel cost | 8.5 | CNY/L |
|  | Unit fuel consumption | 0.28 | L/kWh |
|  | CO ₂ emission factor | 2.6533 | kgCO₂/L |
|  | Carbon tax cost | 60 | CNY/tCO₂ |
| Economic parameters | discount rate | 6 | % |
|  | inflation rate | 2.5 | % |
|  | System evaluation cycle | 25 | year |
| Algorithm parameters | population size | 50 | - |
|  | Maximum number of iterations | 100 | - |
|  | Number of independent runs | 60 | - |
|  | local search weight（αg） | 0.75 | - |
|  | global search weight（βm） | 0.85 | - |
|  | inertial weight factor（w） | 0.7~0.3 | - |